|  |
| --- |
|  |
| SSRS Lower limbs -  SW |
| 003 668  **DRAFT 1** |



|  |  |  |  |
| --- | --- | --- | --- |
| Rev | Date | Author | Modifications |
| Draft 1 for v1 | July 5th 2018 | AME  QBO | Initial version |

Contents

[1 Overview 4](#_Toc518565132)

[2 Table VS patient 4](#_Toc518565133)

[3 Table VS doctor 4](#_Toc518565134)

[4 Table VS cleaning 4](#_Toc518565135)

[5 Table VS manutention 4](#_Toc518565136)

[6 Table VS environment 4](#_Toc518565137)

# Overview

This document is the mechanical specification of the table of the limbs table.

# Motion control

1. SW shall be able to use a joystick as input
2. Joystick connector shall be compatible with CCF23D
3. SW shall be able to move in 1 direction
4. The motor table shall have a redondant encoder